## M Mixes
SPECIFICITY
Team | Master mix #s | 6 Master Mixes |  |  | MAX AMOUNTS NEEDED |  |  | OVERVIEW
|  | 1 | SPEC VC |  | primers | 108 |  | specificity PCR | per team, one rxn w/EH and one w/VC and one w/both
TR ORANGE | 1, 2, 3 | 2 | SPEC EH |  | BSA | 50.4 |  | specificity gel | 1-3 team 1, 4 ladder, 5-7 V1/PMP2, 8-10 team 2
TR YELLOW | 1, 2, 3 | 3 | SPEC BOTH |  | polymerase | 100.8
TR BLUE | 1, 2, 3 | 4 | SENS EH low |  | VC 1:100 | 168 |  | 3 rxns per team, 8 teams, hence 4 gels (instructors load one of the WF on TR)
WF GREEN | 1, 2, 3 | 5 | SENS EH mid |  | VC 1:1000 | 56 |  | per my rxns, can run 2 gels, so for V1/PMP2 need just 2 rxn sets total
WF BLUE | 1, 2, 3 | 6 | SENS EH hi |  | VC 1:10K | 56 |  | 30 | specificity rxns: 10 EH, 10 VC, 10 mixed template
WF PURPLE | 1, 2, 3 |  |  |  | EH 1:10 | 100.8
WF SILVER | 1, 2, 3 | skip | SENS VC low |  | EH 1:100 | 33.6 |  | sensitivity PCR | per team, 1 rxn at each of three template concentrations -- E hellem for all this year
WF WHITE | 1, 2, 3 | skip | SENS VC mid |  | EH 1:1000 | 33.6 |  | sensitivity gel | 1-3 team 1, 4 ladder, 5-7 V1/PMP2, 8-10 team 2
|  | skip | SENS VC hi |  |  |  |  | 3 rxns per team, 8 teams, hence 4 gels (instructors load extra TR on WF)
SENSITIVITY | [7 empty] | for my rxns, again 2 sets total should suffice
Team | Master mix #s | [6 empty] | 30 | EH sensitivity rxns: 10 per dilution
TR RED | 4, 5, 6
TR GREEN | 4, 5, 6
TR PINK | 4, 5, 6
WF RED | 4, 5, 6
WF ORANGE | 4, 5, 6
WF YELLOW | 4, 5, 6
WF PINK | 4, 5, 6 | [6 empty] | simply label tubes n, have a scheme
TR BLUE? | 4, 5, 6
TOWARD MASTER MIXES -- REVISE WITH NEW NUMBERS WHEN READY
[9 empty] | CUTTING |  | JUST THIS ONE
| SPEC 1 TEMPLATE VC |  | SPEC 1 TEMPLATE EH |  |  | SPEC 2 TEMPLATES |  |  | SENSITIVITY VC (3 conc) |  | SENSITIVITY EH (3 conc, 1 m-mix per)
| 1x | 10x + 12% | 1x | 10x + 12% |  | 1x | 10x + 12% |  | 1x | 10x + 12% | 1x | 10x + 12%
buffer | 5 | 56 | 5 | 56 | buffer | 5 | 56 | buffer | 5 | 56 | 5 | 56
water | 32.5 | 364 | 34.5 | 386.4 | water | 29.5 | 330.4 | water | 32.5 | 364 | 34.5 | 386.4
dNTPs | 1 | 11.2 | 1 | 11.2 | dNTPs | 1 | 11.2 | dNTPs | 1 | 11.2 | 1 | 11.2
BSA | 0.5 | 5.6 | 0.5 | 5.6 | BSA | 0.5 | 5.6 | BSA | 0.5 | 5.6 | 0.5 | 5.6
polymerase | 1 | 11.2 | 1 | 11.2 | polymerase | 1 | 11.2 | polymerase | 1 | 11.2 | 1 | 11.2
template | 5 | 56 | 3 | 33.6 | template | 8 | 89.6 | template | 5 | 56 | 3 | 33.6
aliquot 45 uL, then add primer mix last |  |  |  |  | aliquot 45 uL, then add primer mix last |  |  | aliquot 45 uL, then add primer mix last |  |  | aliquot 45 uL, then add primer mix last
primers | 5 |  |  |  | primers | 5 |  | primers | 5 |  | 5
Note: V1PMP2 primer mix should be on same basis as student ones: 2 + 2 + 96 (scaled up)
SENSITIVITY ADDED NOTES
VC plan | 1 | 2 | 3
ng template | 0.25 | 0.025 | 0.0025
dilution of template | 1:100 | 1:1000 | 1:10K
volume of template | 5 uL | 5 uL | 5 uL
EH plan | 1 | 2 | 3
| 0.5 | 0.05 | 0.005
| 1:10 | 1:100 | 1:1000
| 3 uL | 3 uL | 3 uL
SPECIFICITY ADDED NOTES
| VC plan | EH plan |  | VC plan
ng template | 0.25 | 0.5 |  | or 2.5? | --> no, okay after making fresh stock
dilution of template | 1:100 | 1:10 |  | 1:10
volume of template | 5 | 3 |  | 5
S14 note: based on S13 results, VC sensitivity template can possibly go even lower

## Pre-test
S14 note: based on S13 results, VC sensitivity template can possibly go even lower
so, 7 reactions to check whether results are similar to last year plus take VC lower
1 | SENS VC hi
2 | SENS VC mid
3 | SENS VC lo
4 | SENS VC extra lo
5 | SENS EH hi
6 | SENS EH mid
7 | SENS EH lo
Note: stock BSA here was the 5%, not 1% as we used on Day 3 this year
SENS basis rxn | 1x | 7x + 10%
buffer | 5 | 38.5
water | 32.5 | 250.25
dNTPs | 1 | 7.7
BSA | 0.5 | 3.85
polymerase | 1 | 7.7
primers (together) | 5 | 38.5
aliquot 45 uL, then add template last
template | 5 | 38.5
SENSITIVITY TEMPLATE PLAN
VC plan | 1 | 2 | 3
ng template | 0.25 | 0.025 | 0.0025
dilution of template | 1:100 | 1:1000 | 1:10K
volume of template | 5 uL | 5 uL | 5 uL
EH plan | 1 | 2 | 3
ng template | 0.5 | 0.05 | 0.005
dilution of template | 1:10 | 1:100 | 1:1000
volume of template | 3 uL | 3 uL | 3 uL
SPECIFICITY | VC plan | EH plan
ng template | 0.25 | 0.5
dilution of template | 1:100 | 1:10
volume of template | 5 | 3
Calculate max amounts needed before starting, so using exact same stocks for
primer mix as well as template dilutions!!!
MAX AMOUNTS NEEDED (if SENS with both EH and VC)
primers | 108
BSA | 50.4
polymerase | 100.8
VC 1:100 | 168
VC 1:1000 | 56
VC 1:10K | 56
EH 1:10 | 100.8
EH 1:100 | 33.6
EH 1:1000 | 33.6

## Sample List
All Ta this year were 58 C
Sample # | GROUP | SENS: [conc] | SPEC: species | Master mix # used
1 | me | x | VC | 1
2 | me | x | VC | 1
3 | me | x | EH | 2
4 | me | x | EH | 2
5 | me | x | BOTH | 3
6 | me | x | BOTH | 3
7 | me | EH LO | x | 4
8 | me | EH LO | x | 4
9 | me | EH MID | x | 5
10 | me | EH MID | x | 5
11 | me | EH HI | x | 6
12 | me | EH HI | x | 6
13 | TR ORANGE | x | VC | 1
14 |  | x | EH | 2
15 |  | x | BOTH | 3
16 | TR YELLOW | x | VC | 1
17 |  | x | EH | 2
18 |  | x | BOTH | 3
19 | TR BLUE | x | VC | 1
20 |  | x | EH | 2
21 |  | x | BOTH | 3
22 | WF GREEN | x | VC | 1
23 |  | x | EH | 2
24 |  | x | BOTH | 3
25 | WF BLUE | x | VC | 1
26 |  | x | EH | 2
27 |  | x | BOTH | 3
28 | WF PURPLE | x | VC | 1
29 |  | x | EH | 2
30 |  | x | BOTH | 3
31 | WF SILVER | x | VC | 1
32 |  | x | EH | 2
33 |  | x | BOTH | 3
34 | WF WHITE | x | VC | 1
35 |  | x | EH | 2
36 |  | x | BOTH | 3
37 | TR RED | EH LO | x | 4
38 |  | EH MID | x | 5
39 |  | EH HI | x | 6
40 | TR GREEN | EH LO | x | 4
41 |  | EH MID | x | 5
42 |  | EH HI | x | 6
43 | TR PINK | EH LO | x | 4
44 |  | EH MID | x | 5
45 |  | EH HI | x | 6
46 | TR BLUE xtra | EH LO | x | 4
47 |  | EH MID | x | 5
48 |  | EH HI | x | 6
49 | WF RED | EH LO | x | 4
50 |  | EH MID | x | 5
51 |  | EH HI | x | 6
52 | WF ORANGE | EH LO | x | 4
53 |  | EH MID | x | 5
54 |  | EH HI | x | 6
55 | WF YELLOW | EH LO | x | 4
56 |  | EH MID | x | 5
57 |  | EH HI | x | 6
58 | WF PINK | EH LO | x | 4
59 |  | EH MID | x | 5
60 |  | EH HI | x | 6